NATIONAL ACCREDITATION SYSTEM OF THE REPUBLIC OF BELARUS

REPUBLICAN UNITARY ENTERPRISE

«BELORUSSIAN STATE CENTER OF ACCREDITATION»

----------------------------------------------------------------------------------------------------------

Attachment №1 to the Certificate of Accreditation

№BY/112 2.4852

Date of issue September, 19, 2016

At the blank form №002310

In 1 sheet

Version 01

Accreditation scope dated September, 19, 2016

Of testing laboratory

of private production unitary company «VentEnergoService»

| Item No | Testing object | Code | Characteristics of testing object | Laws and regulations including technological regulations which set out requirements to : |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | Testing object | Testing method |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1.1 | Ventilation and conditioning systems | A79B.23 | Aerodynamic properties: Air velocity | Construction standards of the Republic of Belarus SNB 4.02.01-03 Standards of the Republic of Belarus STB 2021-2009 GOST 12.4.021-75 TNPA and other regulations | GOST 12.3.018-79 MVI.MN 1003-2007 |
| 1.2 |  | A79B.23 | Air capacity |  | GOST 12.3.018-79 |
| 1.3 |  | A79B.23 | Dynamic pressure of air flow |  | GOST 12.3.018-79 MVI.MN 1003-2007 |
| 1.4 |  | A79B.23 | Static pressure of air flow |  | GOST 12.3.018-79 MVI.MN 1003-2007 |
| 1.5 |  | A79B.23 | Total pressure of air flow |  | GOST 12.3.018-79 MVI.MN 1003-2007 |
| 1.6 |  | A79B.23 | Total Pressure losses in ventilation system |  | GOST 12.3.018-79 |
| 1.7 |  | A79B.23 | Pressure Loss coefficient in ventilation system |  | GOST 12.3.018-79 |

Chief of National Accreditation Authority

of the Republic of Belarus

Director of State Enterprise «BSCA»             _____________________________       T.A. Nikolaeva

______________________                                      19.09.2016                                               Sheet 1 Total 1

Signature of Lead appraiser